# WIND AND SOLAR ENERGY POTENTIAL ASSESSMENT IN B&H BASED ON REAL MEASUEMENTS AND STUDIES

**Ajla Merzić***JP Elektroprivreda BiH d.d., Sarajevo, Bosnia and Herzegovina*a.lukac@elektroprivreda.ba

**Elma Redžić***JP Elektroprivreda BiH d.d., Sarajevo, Bosnia and Herzegovina*e.turkovic@elektroprivreda.ba

**Alma Ademović***JP Elektroprivreda BiH d.d., Sarajevo, Bosnia and Herzegovina*al.ademovic@elektroprivreda.ba

**Mustafa Musić***JP Elektroprivreda BiH d.d., Sarajevo, Bosnia and Herzegovina*m.music@elektroprivreda.ba

**Keywords:**wind potential, solar potential, harsh weather conditions.

ABSTRACT

The current generation capacity structure of the Public Power Company Elektroprivreda B&H (EP B&H) of 70%:30% in favour of TPPs provides some advantages like safe and reliable supply, but promoting RES and their use in the generation portfolio of the company is a commitment in order to contribute to sustainable development plans and environmental preservation. The ongoing measurement campaign performed by EP B&H investigates wind and solar energy potential on the territory of B&H. This creates preconditions for techno-economic evaluations of exploiting wind and solar power, with the final aim of building wind power plants (WPP) and photovoltaic power plants (PVPP) in the country. Particularly in terms of wind power, high altitude abandoned areas are assessed for potential WPP construction. Experience from the three year measurement campaign has shown promissing results in the available wind and solar potential of B&H, providing good preconditions for future techno-economic assessments and planning activities.